Specifications:  High-density, Expanded Sintered Ploystyrene (EPS) panels, auto-estinguishing in “E” Euroclass Size:120x35x7/10/14/18 cm. In the internal side there are 6 ABS tracks in which to accommodate the spacers, with thermal conductivity λ= 0,0,33 W/mK, model ICF REXwall by Rexpol.